智明電子股份有限公司規格承認書

CHIMING ELECTRONICS CORP SPECIFICATION FOR APPROVAL

住址: 30271 新竹縣竹北市復興二路229 號9 樓之1
Add: 30271 Rm. 1, 9F., No.229, Fuxing 2nd Rd., Zhubei City, Hsinchu County 302, Taiwan (R.O.C.)

Tel: 886-03-6587785 OR 03-6587781  Fax: 886-03-6578598
E-mail: jinling@chi-ming.net  Http://www.chi-ming.com
DESCRIPTION:

(A) Electronics and Optical Characteristics: Ta=25˚C

	PART NO
	Emitting Color
	Forward

Voltage
(DC)
	TotalityLuminous Intensity
	Efficacy
	Dominant 

Wavelength 
	Color

Temperature

	E14-12SMD3020-220VAC

Two sided luminescence
	
	
	
	
	
	

	
	
	Unit: V
	Unit: LM
Error margin:±5%
	Unit:LM/W
	Unit:nm
	Unit:K

	W
	Super White
	220
	49.34
	47.01
	X:0.3236 

Y:0.3398
	5900

	WW
	Super 

Warm white
	 220
	33.64
	39.51
	X:0.4246

Y:0.3995
	3150

	Test Condition
	Power:3.3W        Current:15 mA±10%


Figure: 

  [image: image1.png]16,86

120VAC

13,5

8.8



[image: image2.png]



(B) Absolute Maximum Ratings AT Ta=25˚C

	PARAMETER
	MAX
	UNIT

	Continuous Forward Current
	
	mA

	Peak Forward Current (1/10 Duty Cycle 0.1ms Pulse Width)
	
	mA

	Reverse Voltage
	
	V

	Operating Temperature Range
	-20˚C to +50˚C

	Storage Temperature Range
	-40˚C to +100˚C

	Lead Solder Temperature 1.6mm Below Package 260˚C For 5 seconds


APPROVED & CHECKED BY: JiangCaiQin Tested By: JiangCaiQin Date: 2015-01-09
